## Appendix C
APPENDIX C
RATE SCHEDULE
Respondent Legal Business Name:
Business Address (Not PO Box)
Contact Name:
Contact E-mail:
Contact Phone Number:
Instructions for completing Rate Schedule:
1. If more than one (1) category of maintenance and repair services is offered, in the column for each such service category,
provide the name of the category below the heading "Service Category."
2. For each item listed in this Rate Schedule, provide annual cost for each category of maintenance and repair services offered (if available).
Location | Equipment Description | Manufacturer (includes but not limited to) | Model | Inspection/Test Frequency | Cost per inspection/PM | Cost per inspection/PM | Cost per inspection/PM
[5 empty] | Service Category I | Service Category II | Service Category III
Service Description (or attach documents if applicable)
HARBOR-UCLA MEDICAL CENTER
Main Hospitals Panels
1st floor Sherriff Rm 1-0-3A NDU | Panels - Node 1, 2 batteries | Simplex | 4120 | Annual
1st floor room SE-1F03 | Panel | Simplex | 4100ES | Annual
2nd floor room ME-2141 | Panels - Node 3, 2 batteries | Simplex | 4100 | Annual
4th floor room ME-4168 | Panels - Node 4, 2 batteries | Simplex | 4100 | Annual
6th floor room ME-6168 | Panels - Node 5, 2 batteries | Simplex | 4100 | Annual
8th floor room ME-8156 | Panels - Node 6, 2 batteries | Simplex | 4009 | Annual
PCDC basement room B-00-3 | Panels - Node 7, 2 batteries | Simplex | 4100 | Annual
PCDC basement room B-00-3 | Panels - Node 7, 2 batteries | Simplex | 4100 | Annual
1st floor room 1-G-11 | Panels - Node 8, 2 batteries | Simplex | 4100 | Annual
Basement floor room ME-206 | Panels - Node 9, 2 batteries | Simplex | 4100 | Annual
Power Plant
1st floor South East on wall | Panels - Node 10, 2 batteries | Simplex | 4100U | Annual
Generator Room
1st floor Electrical room | Panels - Node 11, 2 batteries | Simplex | 4010 | Annual
Centrexs 2 East
1st floor corridor adjacent to emergency exit | Panels - Node 12, 2 batteries | Simplex | 4100U | Annual
Building 1 South
1st floor ME South West corner of building | Panels - Node 13, 2 batteries | Simplex | 4100U | Annual
Assembly
1st floor room 1-N-2 | Panels - Node 14, 2 batteries | Simplex | 4100U | Annual
Building N-20
1st floor telecom room | Panels - Node Main, 2 batteries | Simplex | 4100U | Annual
Building N-24
1st floor room B4 telecom room | Panels - Node Main, 2 batteries | Simplex | 4100U | Annual
1st floor room B4 telecom room | Panels - Node Main, 2 batteries | Simplex | 4009 | Annual
Building N-25
1st floor South entrance lobby | Panels - Node Main, 4 batteries | Simplex | 4100 | Annual
Building D-9
1st floor room 242 | Panels - Node Main, 2 batteries | Simplex | 4100U | Annual
Building 2 South
1st floor FACP room | Panels - Node Main, 2 batteries | Simplex | 4002 | Annual
Volunteers Office
1st floor room 1-0-8 | Panels - Node Main, 2 batteries | Simplex | 4002 | Annual
Building 1 East
1st floor caged area storage | Panels - Node Main, 2 batteries | Simplex | 4002 | Annual
Surgical/ER 2nd Floor |  | Simplex |  | Annual
N-31 |  | Simplex |  | Annual
Parking Structure | Panels | Simplex | 4008 | Annual
Cleaning of all Smoke and Duct Detectors |  | Simplex |  | Annual
LAC+USC MEDICAL CENTER
Inpatient Tower
| Annual Fire Alarm System Test. Includes 24/7 Emergency & Non-Emergency Call & Repair Service: |  |  | Annual
| Smoke Sensor Addressable |  |  | Annual
| Duct Detector Addressable |  |  | Annual
| Heat Detector |  |  | Annual
| Manual Pull Station |  |  | Annual
| Audio-Visual Notification Conventional |  |  | Annual
| Fireman's phone jacks |  |  | Annual
| PBX Monitoring by Inspection Staff |  |  | Annual
| Annual Stairwell Pressurization Test |  |  | Annual
| Annual Automatic Elevators Test |  |  | Annual
| Annual Emergency Power & Lighting System Test |  |  | Annual
| Annual Auto Releasing Fire Door Assemblies Test |  |  | Annual
| Annual Overhead Rolling Steel Fire Door Test |  |  | Annual
| Annual PRV Excerise Test |  |  | Annual
| Regulation 4 Retest |  |  | As needed
| EP.2 Joint Commission Quarterly Fire Sprinkler Inspection: Waterflows & Tampeswitches |  |  | Quaterly
| EP.3 Joint Commission Annual Initiating Device Test: |  |  | Annual
| Beam Detectors |  |  | Annual
| Duct Detectors |  |  | Annual
| Heat Detectors |  |  | Annual
| Manual Pull Station |  |  | Annual
| Smoke Detectors |  |  | Annual
| EP.4 Joint Commission Annual Notification Device Test |  |  | Annual
| EP.9 Joint Commission Annual Main Drain Test |  |  | Annual
| EP.10 Joint Commission Quarterly FDC Inspection |  |  | Quaterly
| EP.13 Joint Commission Semi-Annual Kitchen Hood System Test |  |  | Semi-annual
| EP.19 Joint Commission Annual HVAC Shut Down Test |  |  | Annual
| EP.20 Joint Commission Annual Overhead & Sliding Fire Door Test |  |  | Annual
| Magnetic Doors |  |  | Annual
| Overhead Fire Door |  |  | Annual
| WON Door |  |  | Annual
| Annual Smoke Detector Cleaning Service |  |  | Annual
| Annual Baby Abduction Test & Inspection |  |  | Annual
| EP-25 NFPA-80 doors |  |  | Annual
| Damper Testing due 2024 - (6 yr.) Testing |  |  | Every 6 years
Diagnostic & Treatment Building
| Annual Fire Alarm System Test. Includes 24/7 Emergency & Non-Emergency Call & Repair Service: |  |  | Annual
| Smoke Sensor Addressable |  |  | Annual
| Duct Detector Addressable |  |  | Annual
| Heat Detector |  |  | Annual
| Manual Pull Station |  |  | Annual
| Audio-Visual Notification Conventional |  |  | Annual
| Fireman's phone jacks |  |  | Annual
| PBX Monitoring by Inspection Staff |  |  | Annual
| Annual Stairwell Pressurization Test |  |  | Annual
| Annual Automatic Elevators Test |  |  | Annual
| Annual Emergency Power & Lighting System Test |  |  | Annual
| Annual Auto Releasing Fire Door Assemblies Test |  |  | Annual
| Annual Overhead Rolling Steel Fire Door Test |  |  | Annual
| Annual PRV Excerise Test |  |  | Annual
| Annual Pre-Action System Test |  |  | Annual
| Annual Foam (AFFF) Syst Test |  |  | Annual
| Regulation 4 Retest |  |  | As needed
| EP.2 Joint Commission Quarterly Fire Sprinkler Inspection: Waterflows & Tampeswitches |  |  | Quarterly
| EP.3 Joint Commission Annual Initiating Device Test |  |  | Annual
| Duct Detector Addressable |  |  | Annual
| Heat Detectors |  |  | Annual
| Manual Pull Station |  |  | Annual
| Smoke Sensor Addressable |  |  | Annual
| EP.4 Joint Commission Annual Notification Device Test |  |  | Annual
| EP.9 Joint Commission Annual Main Drain Test |  |  | Annual
| EP.10 Joint Commission Quarterly FDC Inspection |  |  | Quarterly
| EP.14 Joint Commission Semi-Annual Suppression (Sapphire) System Test |  |  | Semi-annual
| EP.19 Joint Commission Annual HVAC Shut Down Test |  |  | Annual
| EP.20 Joint Commission Annual Overhead & Sliding Fire Door Test |  |  | Annual
| Magnetic Doors |  |  | Annual
| Overhead Fire Door |  |  | Annual
| WON Door |  |  | Annual
| Annual Smoke Detector Cleaning Service |  |  | Annual
| EP-25 NFPA-80 doors |  |  | Annual
| Damper Testing due 2024 - (6 yr.) Testing |  |  | Every 6 years
Clinic Tower
| Annual Fire Alarm System Test. Includes 24/7 Emergency & Non-Emergency Call & Repair Service: |  |  | Annual
| Smoke Sensor Addressable |  |  | Annual
| Duct Detector Addressable |  |  | Annual
| Heat Detector |  |  | Annual
| Manual Pull Station |  |  | Annual
| Audio-Visual Notification Conventional |  |  | Annual
| Fireman's phone jacks |  |  | Annual
| PBX Monitoring by Inspection Staff |  |  | Annual
| Annual Stairwell Pressurization Test |  |  | Annual
| Annual Automatic Elevators Test |  |  | Annual
| Annual Emergency Power & Lighting System Test |  |  | Annual
| Annual Auto Releasing Fire Door Assemblies Test |  |  | Annual
| Annual Overhead Rolling Steel Fire Door Test |  |  | Annual
| Annual PRV Excerise Test |  |  | Annual
| Regulation 4 Retest |  |  | As needed
| EP.2 Joint Commission Quarterly Fire Sprinkler Inspection: Waterflows & Tampeswitches |  |  | Quarterly
| EP.3 Joint Commission Annual Initiating Device Test: |  |  | Annual
| Duct Detector Addressable |  |  | Annual
| Heat Detectors |  |  | Annual
| Manual Pull Station |  |  | Annual
| Smoke Sensor Addressable |  |  | Annual
| EP.4 Joint Commission Annual Notification Device Test |  |  | Annual
| EP.9 Joint Commission Annual Main Drain Test |  |  | Annual
| EP.10 Joint Commission Quarterly FDC Inspection |  |  | Quarterly
| EP.19 Joint Commission Annual HVAC Shut Down Test |  |  | Quarterly
| EP.20 Joint Commission Annual Overhead & Sliding Fire Door Test |  |  | Quarterly
| Magnetic Doors |  |  | Quarterly
| Overhead Fire Door |  |  | Quarterly
| WON Door |  |  | Quarterly
| Annual Smoke Detector Cleaning Service |  |  | Quarterly
| EP-25 NFPA-80 doors |  |  | Annual
| Damper Testing due 2024 - (6 yr.) Testing |  |  | Every 6 years
West Central Plant
| Annual Fire Alarm System Test. Includes 24/7 Emergency & Non-Emergency Call & Repair Service: |  |  | Annual
| Smoke Sensor Addressable |  |  | Annual
| Duct Detector Addressable |  |  | Annual
| Heat Detector |  |  | Annual
| Manual Pull Station |  |  | Annual
| Fireman's phone jacks |  |  | Annual
| PBX Monitoring by Inspection Staff |  |  | Annual
| Annual Emergency Power & Lighting System Test |  |  | Annual
| Annual Fire Pump Test |  |  | Annual
| Annual (Private) Hydrant Test |  |  | Annual
East Central Plant
| Annual Fire Alarm System Test. Includes 24/7 Emergency & Non-Emergency Call & Repair Service: |  |  | Annual
| Smoke Sensor Addressable |  |  | Annual
| Duct Detector Addressable |  |  | Annual
| Heat Detector |  |  | Annual
| Manual Pull Station |  |  | Annual
| Audio-Visual Notification Conventional |  |  | Annual
| Fireman's phone jacks |  |  | Annual
| PBX Monitoring by Inspection Staff |  |  | Annual
| Annual Emergency Power & Lighting System Test |  |  | Annual
| Annual Auto Releasing Fire Door Assemblies Test |  |  | Annual
| Annual Overhead Rolling Steel Fire Door Test |  |  | Annual
| Annual Fire Pump Test |  |  | Annual
| Annual (Private) Hydrant Test |  |  | Annual
| Regulation 4 Retest |  |  | As needed
| EP.1 Joint Commission Quarterly Non-Valve Supervisory Test |  |  | Quarterly
| EP.2 Joint Commission Quarterly Fire Sprinkler Inspection: Waterflows & Tampeswitches |  |  | Quarterly
| EP.3 Joint Commission Annual Initiating Device Test: |  |  | Annual
| Duct Detector Addressable |  |  | Annual
| Heat Detectors |  |  | Annual
| Manual Pull Station |  |  | Annual
| Smoke Sensor Addressable |  |  | Annual
| EP.4 Joint Commission Annual Notification Device Test |  |  | Annual
| EP.7 Joint Commission Semi-Annual Tank High-Low Test |  |  | Annual
| EP.9 Joint Commission Annual Main Drain Test |  |  | Annual
| EP.10 Joint Commission Quarterly FDC Inspection |  |  | Quarterly
| EP.19 Joint Commission Annual HVAC Shut Down Test |  |  | Quarterly
| EP.20 Joint Commission Annual Overhead & Sliding Fire Door Test |  |  | Annual
| Magnetic Doors |  |  | Annual
| Overhead Fire Door |  |  | Annual
| WON Door |  |  | Annual
| Annual Smoke Detector Cleaning Service |  |  | Annual
| EP-25 NFPA-80 Doors |  |  | Annual
General Hospital
| Annual Fire Alarm System Test |  |  | Annual
| Fire Alarm Control Panel(s) |  |  | Annual
| Fire Alarm Annunciator Panel(s) |  |  | Annual
| Smoke Sensor Addressable |  |  | Annual
| Heat Detector Restorable |  |  | Annual
| Duct Detector Conventional |  |  | Annual
| Pull Station |  |  | Annual
| Audio-Visual Notification Conventional |  |  | Annual
| Fire Alarm Master Box |  |  | Annual
| Remote Power Supply/NAC Extender |  |  | Annual
| Annual Emergency Power & Lighting System Test |  |  | Annual
| Annual Automatic Elevators Test |  |  | Annual
| Annual Auto Releasing Fire Door Assemblies Test |  |  | Annual
| Annual Overhead Rolling Steel Fire Door Test |  |  | Annual
| Regulation 4 Retest |  |  | As needed
| Station O (Halon) |  |  | Semi-Annual
Outpatient Building
| Annual Fire Alarm System Test |  |  | Annual
| Pull Station |  |  | Annual
| Audio-Visual Notification Conventional |  |  | Annual
| Fire Alarm Master Box |  |  | Annual
| Waterflow Alarm |  |  | Annual
| Annual Emergency Power & Lighting System Test |  |  | Annual
| Annual Automatic Elevators Test |  |  | Annual
| Annual Overhead Rolling Steel Fire Door Test |  |  | Annual
| Regulation 4 Retest |  |  | As needed
| Existing Contract Annual Total for Outpatient Building |  |  | Annual
| EP.2 Joint Commission Quarterly Fire Sprinkler Inspection: Waterflows & Tampeswitches |  |  | Quarterly
| EP.9 Joint Commission Annual Main Drain Test |  |  | Annual
| EP.10 Joint Commission Quarterly FDC Inspection |  |  | Quarterly
| Annual Smoke Detector Cleaning & Sensitivity Test |  |  | Annual
| EP-25 NFPA-80 Doors |  |  | Annual
Parking Lot 9
| Annual Fire Alarm System Test |  |  | Annual
| Main Fire Alarm Panel |  |  | Annual
| Annunciator |  |  | Annual
| Smoke Detector |  |  | Annual
| Pull Station |  |  | Annual
| Audio-Visual Notification Conventional |  |  | Annual
| Waterflow Alarm |  |  | Annual
| Tamper Switch |  |  | Annual
| Annual Emergency Power & Lighting System Test |  |  | Annual
| Annual Automatic Elevators Test |  |  | Annual
| Regulation 4 Retest |  |  | As needed
| Annual Fire Pump Test |  |  | Annual
Parking Lot 10
| Annual Fire Alarm System Test |  |  | Annual
| Pull Station |  |  | Annual
| Audio-Visual Notification Conventional |  |  | Annual
| Fire Alarm Master Box |  |  | Annual
| Waterflow Alarm |  |  | Annual
| Annual Emergency Power & Lighting System Test |  |  | Annual
| Annual Overhead Rolling Steel Fire Door Test |  |  | Annual
| Regulation 4 Retest |  |  | As needed
Parking Lot 12
| Annual Fire Alarm System Test |  |  | Annual
| Pull Station |  |  | Annual
| Audio-Visual Notification Conventional |  |  | Annual
| Fire Alarm Master Box |  |  | Annual
| Waterflow Alarm |  |  | Annual
| Annual Emergency Power & Lighting System Test |  |  | Annual
| Regulation 4 Retest |  |  | Annual
Rand Schrader Clinic
| Annual Fire Alarm System Test |  |  | Annual
| Main Fire Alarm Panel |  |  | Annual
| Annunciator |  |  | Annual
| Smoke Detector |  |  | Annual
| Duct Sensor Addressable |  |  | Annual
| Pull Station |  |  | Annual
| Audio-Visual Notification Conventional |  |  | Annual
| Waterflow Alarm |  |  | Annual
| Tamper Switch |  |  | Annual
| Annual Automatic Elevators Test |  |  | Annual
| Annual Emergency Power & Lighting System Test |  |  | Annual
| Regulation 4 Retest |  |  | As needed
| EP.2 Joint Commission Quarterly Fire Sprinkler Inspection: Waterflows & Tampeswitches |  |  | Quarterly
| EP-25 NFPA-80 Doors |  |  | Annual
College of Nursing
| Annual Fire Alarm System Test |  |  | Annual
| Main Fire Alarm Panel |  |  | Annual
| Annunciator |  |  | Annual
| Smoke Detector |  |  | Annual
| Heat Detector Restorable |  |  | Annual
| Duct Sensor Addressable |  |  | Annual
| Pull Station |  |  | Annual
| Audio-Visual Notification Conventional |  |  | Annual
| Waterflow Alarm |  |  | Annual
| Tamper Switch |  |  | Annual
| Mag Door Holder |  |  | Annual
| Annual Automatic Elevators Test |  |  | Annual
| Annual Emergency Power & Lighting System Test |  |  | Annual
| Regulation 4 Retest |  |  | As needed
Intern's Residence Building
| Annual Fire Alarm System Test |  |  | Annual
| Main Fire Alarm Panel |  |  | Annual
| Annunciator |  |  | Annual
| Smoke Detector |  |  | Annual
| Heat Sensor |  |  | Annual
| Pull Station |  |  | Annual
| Fire Alarm Master Box |  |  | Annual
| Waterflow Alarm |  |  | Annual
| Tamper Switch |  |  | Annual
| Mag Door Holder |  |  | Annual
| Annual Automatic Elevators Test |  |  | Annual
| Annual Emergency Power & Lighting System Test |  |  | Annual
| Regulation 4 Retest |  |  | As needed
Women's & Children's Center
| Annual Fire Alarm System Test |  |  | Annual
| Main Fire Alarm Panel |  |  | Annual
| Annunciator |  |  | Annual
| Smoke Detector |  |  | Annual
| Duct Sensor Addressable |  |  | Annual
| Pull Station |  |  | Annual
| Audio-Visual Notification Conventional |  |  | Annual
| Waterflow Alarm |  |  | Annual
| Tamper Switch |  |  | Annual
| Mag Door Holder |  |  | Annual
| Annual Automatic Elevators Test |  |  | Annual
| Annual Emergency Power & Lighting System Test |  |  | Annual
| Annual Overhead Rolling Steel Fire Door Test |  |  | Annual
| Regulation 4 Retest |  |  | As needed
Miscellaneous Outlying Buildings including #112, 115, 124, 302, 407, 408, 526
| Annual Fire Alarm System Test |  |  | Annual
| Main Fire Alarm Panel |  |  | Annual
| Annunciator |  |  | Annual
| Smoke Detector |  |  | Annual
| Duct Sensor Addressable |  |  | Annual
| Pull Station |  |  | Annual
| Audio-Visual Notification Conventional |  |  | Annual
| Waterflow Alarm |  |  | Annual
| Tamper Switch |  |  | Annual
| Mag Door Holder |  |  | Annual
| Annual Emergency Power & Lighting System Test |  |  | Annual
| Regulation 4 Retest |  |  | As needed
Child Care Trailer 14 - 1401 Mission
| Annual Fire Alarm System Test |  |  | Annual
| Annual Emergency Power & Lighting System Test |  |  | Annual
| Sprinkler Test |  |  | Annual
| Regulation 4 Retest |  |  | As needed
Miscellaneous Outlying Building - 313 N. Figueroa (Building 646)
| Annual Fire Alarm System Test |  |  | Annual
| Main Fire Alarm Panel |  |  | Annual
| Annunciator |  |  | Annual
| Smoke Detector |  |  | Annual
| Duct Sensor Addressable |  |  | Annual
| Pull Station |  |  | Annual
| Audio-Visual Notification Conventional |  |  | Annual
| Waterflow Alarm |  |  | Annual
| Tamper Switch |  |  | Annual
| Annual Automatic Elevators Test |  |  | Annual
| Annual Emergency Power & Lighting System Test |  |  | Annual
| Regulation 4 Retest |  |  | As needed
| Annual Auto Releasing Fire Door Assemblies Test |  |  | Annual
| 750 GPM Fire Pump: Diesel Sprinkler Fire Pump |  |  | Annual
| Fire Alarm Central Station Monitoring |  |  | Annual
| Kitchen Hood Suppression System |  |  | Annual
| Ansul Suppression Gas System |  |  | Annual
| Gas Suppression Tanks |  |  | Annual
| Appliance Link |  |  | Annual
5555 Ferguson Building
| Annual Fire Alarm System Test |  |  | Annual
| Main Fire Alarm Panel |  |  | Annual
| Annunciator |  |  | Annual
| Smoke Detector |  |  | Annual
| Heat Sensor |  |  | Annual
| Duct Sensor Addressable |  |  | Annual
| Pull Station |  |  | Annual
| Waterflow Alarm |  |  | Annual
| Tamper Switch |  |  | Annual
| Annual Automatic Elevators Test |  |  | Annual
| Annual Emergency Power & Lighting System Test |  |  | Annual
| Regulation 4 Retest |  |  | As needed
| Annual Auto Releasing Fire Door Assemblies Test |  |  | Annual
| Fire Pump Test |  |  | Annual
| Pre-Action System Test |  |  | Annual
| FM200 Test |  |  | Annual
| Sprinkler Test |  |  | Quarterly
1925 Daly St.
| Annual Fire Alarm System Test |  |  | Annual
| Main Fire Alarm Panel |  |  | Annual
| Digital Alarm Communication Transmitter (DACT) |  |  | Annual
| Fire Alarm Battery Test |  |  | Annual
| Annunciator |  |  | Annual
| Smoke Detector |  |  | Annual
| Duct Sensor Addressable |  |  | Annual
| Pull Station |  |  | Annual
| Audio-Visual Unit Addressable |  |  | Annual
| Remote Power Supply/NAC Extender |  |  | Annual
| Annual Automatic Elevators Test |  |  | Annual
| Annual Emergency Power & Lighting System Test |  |  | Annual
| Regulation 4 Retest |  |  | As needed
| Extinguisher Basic Test & Inspect |  |  | Annual
| Annual Emergency Power & Lighting System Test |  |  | Annual
1358 Eastlake Ave (Big Blue Building)
| Annual Fire Alarm System Test |  |  | Annual
| Main Fire Alarm Panel |  |  | Annual
| Fire Alarm Battery Test |  |  | Annual
| Pull Station |  |  | Annual
| Audio-Visual Unit Addressable |  |  | Annual
| Regulation 4 Retest |  |  | As needed
Inpatient Tower/D&T/Clinic Tower & Central Plant
| Regulation 4 5-Year Inspection of the water based fire sprinkler systems |  |  | Every 5 years
| Fire Department Connection (FDC) |  |  | Every 5 years
| Foam System |  |  | Every 5 years
| Preaction System |  |  | Every 5 years
| Pressure Relief Valve (PRV) |  |  | Every 5 years
| Fire Pump |  |  | Every 5 years
| Small Riser Systems |  |  | Every 5 years
| IR Testing (Campus Wide) |  |  | Annual
| Tech Services - Bi-Weekly - Each year of contract |  |  | Bi-weekly
Rand Schrader Clinic
| Regulation 4 5-Year Inspection of the water based fire sprinkler systems |  |  | Every 5 years
MLK OUTPATIENT CENTER
Watkings, Parking Structure, Old Accute MACC/Hudson Auditorium, Central Plant 1-4, Hawkins, NSB, SSB, I&R, MLK OC
| EP.1 Joint Commission Quarterly Non-Valve Supervisory Test |  |  | Quarterly
| EP.2 Joint Commission Quarterly Fire Sprinkler Inspection: Waterflows & Tampeswitches |  |  | Quarterly
| Semi Annual Valve Tamper Switches |  |  | Semi-Annual
| EP3 Annual Test of Fire Alarm. |  |  | Annual
| Initiating devices |  |  | Annual
| Duct Detectors |  |  | Annual
| Electro-magnetical releasing devices |  |  | Annual
| Heat detectors |  |  | Annual
| Fire alarm boxes |  |  | Annual
| Smoke detectors |  |  | Annual
| EP.4 Joint Commission Annual Notification Device Test |  |  | Annual
| EP.5 Joint Commission Quarterly Central Station Notification Test. |  |  | Quarterly
| EP.9 Joint Commission Annual Main Drain Test |  |  | Annual
| EP.10 Joint Commission Quarterly FDC Inspection |  |  | Quarterly
| EP.13 Joint Commission Semi-Annual Kitchen Hood System Test |  |  | Semi-Annual
| EP.14 Joint Commission carbon dioxide and other gaseous automatic fire-extinguishing systems |  |  | Semi-Annual
| EP.19 Joint Commission Annual HVAC Shut Down Test |  |  | Annual
MLK Learning Center
FIRE ALARM COMPREHENSIVE SERVICE
SIMPLEX 4100U SYSTEM
| Main Fire Alarm Panel |  |  | Annual
| Fire Alarm Battery Test |  |  | Annual
| Digital Alarm Communicator Transmitter (DACT) |  |  | Annual
| Annunciator |  |  | Annual
| Smoke Sensor Addressable |  |  | Annual
| Heat Detector Restorable |  |  | Annual
| Pull Station |  |  | Annual
| Audio-Visual Unit Addressable |  |  | Annual
| Remote Power Supply/NAC Extender |  |  | Annual
| Waterflow Test |  |  | Annual
| Tamper Switch |  |  | Annual
| Sprinkler Basic Service |  |  | Annual
| Wet Sprinkler System |  |  | Annual
| Wet System Test & Inspect (Includes Tamper, Flow, Gate Valve, Fire Dept Connection Plastic Caps, Valve Trim & Main Drain Valve) |  |  | Annual
MLK Parking Structure A
FIRE ALARM COMPREHENSIVE SERVICE
SIMPLEX 410ES FIRE ALARM PANEL
| Main Fire Alarm Panel |  |  | Annual
| Fire Alarm Battery Test (each) |  |  | Annual
| Digital Alarm Communicator Transmitter (DACT) |  |  | Annual
| Smoke Sensor Addressable |  |  | Annual
| Pull Station |  |  | Annual
| Radiant Energy Fire Detector |  |  | Annual
| Remote Power Supply/NAC Extender |  |  | Annual
| Sprinkler/Standpipe Combo Wet Basic Service |  |  | Annual
| Combo/SP-Standpipe System |  |  | Annual
| Standpipe Test & Inspect |  |  | Annual
| Sprinkler Basic Service |  |  | Annual
| Combo/SP-Standpipe System |  |  | Annual
| Standpipe Test & Inspect |  |  | Annual
| Emergency Power & Light System Test |  |  | Annual
MLK North Support Building
Suppression Gas System Test & Inspect
| FM 200 or Halon system (Includes Control Panel) |  |  | Semi-annual
VESDA SYSTEM
| Other Special Hazard System |  |  | Annual
| Sprinkler Basic Service |  |  | Annual
| Preaction System Test & Inspect (Includes Tamper, Pressure Switch, Low Air, Gate Valve, Valve Trim, Main Drain Valve, Fire Dept. Plastic Caps Trip Test) |  |  | Annual
OLIVE VIEW-UCLA MEDICAL CENTER
| Annual Automatic Elevators Test |  |  | Annual
| Annual Emergency Power & Lighting System Test |  |  | Annual
| Fire Pump Test |  |  | Annual
| Regulation 4 Retest |  |  | As needed
Day Care Building
Annual Fire Alarm System Test
| Main Fire Alam Panel |  |  | Annual
| Annunciator |  |  | Annual
| Smoke Detector Conventional |  |  | Annual
| Heat Detector Restorable |  |  | Annual
| Pull Station |  |  | Annual
| Audio-Visual Notification Conventional |  |  | Annual
Nurse Education Building
Annual Fire Alarm System Test
| Main Fire Alam Panel |  |  | Annual
| Smoke Detector Conventional |  |  | Annual
| Heat Detector Restorable |  |  | Annual
| Pull Station |  |  | Annual
| Audio-Visual Notification Conventional |  |  | Annual
Patient Access Center (PAC)
Annual Fire Alarm System Test
| Main Fire Alam Panel |  |  | Annual
| Smoke Detector Conventional |  |  | Annual
| Heat Detector Restorable |  |  | Annual
| Pull Station |  |  | Annual
| Audio-Visual Notification Conventional |  |  | Annual
Women's & Children's Center
Annual Fire Alarm System Test
| Main Fire Alam Panel |  |  | Annual
| Smoke Detector Conventional |  |  | Annual
| Heat Detector Restorable |  |  | Annual
| Pull Station |  |  | Annual
| Audio-Visual Notification Conventional |  |  | Annual
Conference Center
Annual Fire Alarm System Test
| Main Fire Alam Panel |  |  | Annual
| Smoke Detector Conventional |  |  | Annual
| Duct Detector Conventional |  |  | Annual
| Pull Station |  |  | Annual
| Audio-Visual Notification Conventional |  |  | Annual
| Waterflow Test |  |  | Annual
| Tamper Switch |  |  | Annual
RANCHO LOS AMIGOS NATIONAL REHABILITATION CENTER
CCTV System:
| Camera |  |  | Annual
| Network Video Recorder (NVR) |  |  | Annual
Access Control:
| Access Control Workstation |  |  | Annual
| Card Reader |  |  | Annual
| Door Controller |  |  | Annual
| Power Supply |  |  | Annual
| Access Control Server |  |  | Annual
Buildings 100, 101-102, 400, 500, Medical Science Building, Clinic Addition, CART Building, Child Care Center, Safety Police Building, SSB Building, JPI Building, Central Plant
Annual Fire Alarm Test
| Main Fire Alarm Panel & slave panels |  |  | Annual
| Pull Station |  |  | Annual
| Waterflow test |  |  | Annual
| Tamper Switch |  |  | Annual
| Heat Detector |  |  | Annual
| Smoke Detector |  |  | Annual
| Duct Detector |  |  | Annual
| Door Holders |  |  | Annual
| Preventive maintenance, annual cleaning of smoke detectors and cleaning and sensitivity testing of duct detectors. |  |  | Annual
| Fire hydrant flow test |  |  | Annual
| Sprinkler/Standpipe System |  |  | Every 5 years
| Automatic Sprinkler System |  |  | Every 5 years
| EP.2 Joint Commission Quarterly Fire Sprinkler Inspection: Waterflows & Tampeswitches |  |  | Quarterly
South Campus
| Fire hydrant flow test |  |  | Annual
| Sprinkler/Standpipe System |  |  | Every 5 years
Parking Structure
| Sprinkler/Standpipe System |  |  | Every 5 years
| EP.2 Joint Commission Quarterly Fire Sprinkler Inspection: Waterflows & Tampeswitches |  |  | Quarterly
Power Plant
| Annual fire pump testing |  |  | Annual
Materials Management Building,
| EP.2 Joint Commission Quarterly Fire Sprinkler Inspection: Waterflows & Tampeswitches |  |  | Quarterly
MRI Building
| EP.2 Joint Commission Quarterly Fire Sprinkler Inspection: Waterflows & Tampeswitches |  |  | Quarterly
EL MONTE COMPREHENSIVE HEALTH CENTER
| Annual Fire Alarm System Test |  |  | Annual
| Annual Emergency Exit Lighting System Test |  |  | Annual
| Suppression Gas |  |  | Annual
| Fire Door Inspection/Test |  |  | Annual
| Regulation 4 Retest |  |  | As needed
HUBERT H. HUMPHREYS COMPREHENSIVE HEALTH CENTER
| Annual Fire Alarm System Test: Digital Alarm Communicator Transmitter |  |  | Annual
| Annual Emergency Exit Lighting System Test |  |  | Annual
| EP.13 Joint Commission Semi-Annual Kitchen Hood System Test |  |  | Semi-annual
| Annual Automatic Elevators Test |  |  | Annual
| Fire Door Inspection/Test |  |  | Annual
H. CLAUDE HUDSON COMPREHENSIVE HEALTH CENTER
| Annual Fire Alarm System Test |  |  | Annual
| Annual Emergency Exit Lighting System Test |  |  | Annual
| Suppression Gas |  |  | Annual
| Fire Sprinkler Test |  |  | Annual
| Fire Door Inspection/Test |  |  | Annual
| Fire Extinguisher |  |  | Annual
| Regulation 4 Retest |  |  | As needed
MID-VALLEY COMPREHENSIVE HEALTH CENTER
Annual Fire Alarm Test
| Main Fire Alam Panel |  |  | Annual
| Annunciator |  |  | Annual
| Smoke Detector Conventional |  |  | Annual
| Heat Detector Restorable |  |  | Annual
| Pull Station |  |  | Annual
| Audio-Visual Notification Conventional |  |  | Annual
| Remote Power Supply/NAC Extender |  |  | Annual
| Waterflow Test |  |  | Annual
| Temper Switch |  |  | Annual
| Annual Emergency Exit Lighting System Test |  |  | Annual
EDWARD R. ROYBAL COMPREHENSIVE HEALTH CENTER
Annual Fire Alarm Test
| MainFire Alarm Panel |  |  | Annual
| Fire Alarm Battery Test |  |  | Annual
| Digital Alarm Communicator Transmitter (DACT) |  |  | Annual
| Annunciator |  |  | Annual
| Smoke Detector Conventional |  |  | Annual
| Duct Detector Conventional |  |  | Annual
| Pull Station |  |  | Annual
| Audio-Visual Notification Conventional |  |  | Annual
| Annual Automatic Elevators Test |  |  | Annual
| Annual Emergency Exit Lighting System Test |  |  | Annual
| Fire Door Inspection/Test |  |  | Annual
| Regulation 4 Retest |  |  | As needed
LA PUENTE HEALTH CENTER
Annual Fire Alarm Test
| MainFire Alarm Panel |  |  | Annual
| Pull Station |  |  | Annual
| Audio-Visual Notification Conventional |  |  | Annual
| Annual Automatic Elevators Test |  |  | Annual
| Extinguisher Basic Test & Inspect |  |  | Annual
| Fire Hose System: Hose House |  |  | Annual
| Regulation 4 Retest |  |  | As needed
SAN FERNANDO HEALTH CENTER
Annual Fire Alarm Test
| MainFire Alarm Panel |  |  | Annual
| Smoke Detector Conventional |  |  | Annual
| Heat Detector Resrotable |  |  | Annual
| Duct Detector Conventional |  |  | Annual
| Pull Station |  |  | Annual
| Audio-Visual Notification Conventional |  |  | Annual
| Waterflow Test |  |  | Annual
| Annual Emergency Exit Lighting System Test |  |  | Annual
| Regulation 4 Retest |  |  | As needed
Include rate for Additional Services, if applicable.
Hourly rate
Additional Services
Fee for cell/cassette component replacement/calibration above 50% per year |  |  |  |  | $
Contractor shall invoice County monthly in arrears.
Travel cost will be inclusive unless specified otherwise.
Annual cost will be effective through June 30, 2028, unless specified otherwise.
Please attach any supporting documents, including description of different levels of services if applicable.